## Slide 1: Nordic Transmission Grid Model based on open sources
Internship
Niek Brekelmans

## Slide 2: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 3: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 4: Introduction
Three-month internship
Nordic synchronous grid in PSS/E
  Sweden, Norway, Finland and eastern Denmark
  220 kV and above
Static model
  Single timestamp: 2020-03-04 19:00
Source: Wikipedia (Synchronous grid of Continental Europe)
Reproducible
Updatable
Reliable
Extendable

## Slide 5: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 6: Open-source data and tools
Availability
Transparency
Community
Encouraging innovation
Missing information
Incomplete datasets
Hard to combine
Unknown metadata
Advantages
Disadvantages / challenges

## Slide 7: OpenStreetMap
Open-source map
Geographically accurate
Crowdsourcing
Peer reviewing
Downloadable
Available for power grids!

## Slide 8: OSM for power
Available information
 | Nr. Lines | With voltage [%]
Denmark | 3,700 | 98.51%
Finland | 3,533 | 61.96%
Norway | 13,338 | 72.99%
Sweden | 832 | 77.16%
The Netherlands | 4,172 | 99.62%
Germany | 37,228 | 96.47%

## Slide 9: SciGRID
Convert OSM data to model
Topology
  Buses
  Lines
  Transformers
  HVDC links
Relations
Limitations
Relations
Missing information

## Slide 10: GridKit (OSM)
Convert OSM data to model with heuristics
  ‘Guess’ relations
Topology
  Buses
  Lines
  Transformers
  HVDC links
Limitations
Possible wrong connections
Missing information

## Slide 11: PyPSA-Eur
Python for PowerSystemAnalysis – Europe
Multiple tools combined to build full transmission network of Europe
Technische Universität Berlin
Active community
Clustering and aggregation not used
Adaptations
Source: PyPSA-Eur

## Slide 12: PyPSA-Eur
GridKit (ENTSO‑E)
Buses Transformers
Lines HVDC Links
Open Power System Data (OPSD)
Load (time series)
Generation (renewable capacity)
Weather data
Renewable generation (time series)
Power Plant Matching
Generation (capacity)

## Slide 13: GridKit (ENTSO-E) PyPSA-Eur
Unofficial extract of ENTSO-E Transmission System Map
Topology
  Buses
  Lines
  Transformers
  HVDC links
Limitations
Topological over geographical
Line parameters from standard types
Transformers derived
Capacity unknown
Voltage level (400 kV  380 kV)
Reactive compensation missing

## Slide 14: Power Plant Matching PyPSA-Eur
Cleaning, standardizing and combining power plant data sources
  Capacity
  Type
  Coordinates
Limitations
Only global reliability score
Capacity change over years
Attached to closest LV bus
Source: powerplantmatching

## Slide 15: Open Power System Data (OPSD) PyPSA-Eur
Collect, check, process, document and publish data
Load
ENTSO-E Transparency Platform
Time series of load per country
Connect to buses in PyPSA-Eur:
  Voronoi cells
  Gross Domestic Product (60%)
  Population (40%)
Limitations
Load distribution is approximated
Data per country
Includes losses
Source: PyPSA-Eur

## Slide 16: Open Power System Data (OPSD)
Collect, check, process, document and publish data
Generation (renewable capacity)
Denmark
  Energystyrelsen – Energy Agency Denmark
  Energinet – TSO in Denmark
Sweden
  Vindbrukskollen (Lansstyrelsen) - Wind farms in Sweden
Limitations
Finland and Norway excluded (for now)
Sweden only contains wind turbines
More capacity than reported in ENTSO‑E (Sweden)

## Slide 17: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 18: PyPSA-Eur
Source: PyPSA-Eur

## Slide 19: Nordic Transmission grid model
Input
  PyPSA-Eur
  ENTSO-E Transparency
    Installed generation capacity
    Generation (time series)
    Load (time series)
    Cross-border physical flows
Output
  Database
  PSS/E models
  Validation reports

## Slide 20: Nordic Transmission grid model – modifications
Bus
Bidding zone
Line
Impedance
Generation
Estimate actual generation
Scale per bidding zone
Load
Scale per bidding zone
Subtract losses
External Links
Distribute cross-border flows
380kV  400 kV

## Slide 21: Database

## Slide 22: Model in PSS/E
Database | PSS/E
Bus | Bus
Load | Load
Generator | Plant / Machine
Storage Unit | Plant / Machine
Shunt Impedance | -
Line | Branch – AC Line
Transformer | Branch – 2 Winding
Link | Branch – VSC DC
External Link | Load

## Slide 23: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 24: Validation of ENTSO-E Transparency Platform (wind)
Source: The ENTSO-E Transparency Platform – A review of Europe’s most ambitious electricity data platform
Notes: Load is also validated, but only for small time ranges  much more accurate in newer data than 2015-2016

## Slide 25: Comparison to DNV Swedish model (2017)
Generation [MW] | Model 2017 | Model 2023 | Difference | Difference [%]
SE1 | 3,142 | 4,470 | 1,327 | +42%
SE2 | 6,423 | 5,818 | -605 | -9%
SE3 | 10,361 | 9,092 | -1,269 | -12%
SE4 | 1,138 | 808 | -330 | -4%
Total | 21,064 | 20,188 | -877 | -4%
Load [MW] | Model 2017 | Model 2023 | Difference | Difference [%]
SE1 | 1,410 | 1,410 | 0 | 0%
SE2 | 2,395 | 2,395 | 0 | 0%
SE3 | 12,341 | 12,341 | 0 | 0%
SE4 | 3,542 | 3,542 | 0 | 0%
Total | 19,688 | 19,688 | 0 | 0%

## Slide 26: Comparison to DNV Swedish model (2017)
 | Actual [MW] | Model [MW] | Difference [MW] | Difference [%]
SE1-SE2 | 314 | 1,326 | 1,012 | +322%
SE2-SE3 | 4,033 | 4,765 | 732 | +18%
SE3-SE4 | 3,420 | 3,720 | 300 | +9%

## Slide 27: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 28: Load flow
2020 data
Black: ENTSO-E TP
Red: Difference model

## Slide 29: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 30: Conclusions
Model is reliable after analysis
  Account for data inconsistencies
Open-source models
  Never perfect
  Hard to verify
Weaknesses lie in missing data
Reproducible
Updatable
Reliable
Extendable

## Slide 31: Overview
Introduction
Open-source models, tools and datasets
Model
Validation data
Load flow
Conclusion
Further work

## Slide 32: Further work
Missing information in Sweden
Add generation distribution per bidding zone
Validation
Find additional validation data
Extend to mainland Europe
Easy with project setup

## Slide 33
Niek.Brekelmans@dnv.com

## Slide 34: Line model
Long line model
  Differential not possible in PSS/E
Medium line model with correction factor